## Read me
NRM1 v5.11 — rate decision table (3 October 2026)
Purpose: one place to decide every rate change suggested by your four real projects, before a single v5.11 workbook release.
How to use
1. Work down each tab. The yellow "Your decision" column has a drop-down: Accept / Reject / Amend. For Amend, put your figure in "Your figure (B / S / H)".
2. Recommendation colours: amber = change proposed, green = keep (evidence confirms), grey = hold (not enough evidence yet).
3. Send it back and I build v5.11 from it: one workbook edit, the update log, tests, and a before/after on all four projects.
Baseline
"Live" = the v5.7 rates in production (unchanged by v5.8–v5.10, which only added evidence).
"#31" = your own 29 Sept rate review (PR #31, not merged). It holds ~40 of your figures that never reached main. Proposals start from your #31 figure where you set one.
All figures are Refurb & Fit-out columns (Basic / Std / High), £ per the row's unit, before location factor, prelims and OH&P. New build columns are not changed unless a row says so.
Evidence (all converted to the workbook basis: West Midlands ÷ 0.94, rebased to Q3 2026, excluding the contractor's prelims and OH&P)
L = Lakeside Staff & Family Flats — tender, Sep 2026, median of 4 bids, 3,306 m². Already used in v5.7 (live).
CS = Computer Science decarbonisation — tender Mar 2024 (2 bids, × 1.07) and final account Jul 2026, 3,495 m² GIA. PR #34.
WF = Whitefields demolition — Total Reclaims contract 2026 (× 1.014). Quantities confirmed by you on 3 Oct: 17 blocks, 3,740 m² GIA, 2,210 m² footprint, 8,000 m² site. PR #35.
CC = Claycroft student residences — Morgan Sindall G4 contract May 2025 (× 1.034), 17,172 m² GIA; fire stopping is the Sep 2026 out-turn. PR #36.
Headline
• Refurbishment envelope and M&E are the big gap: on the CS scope Projento gives £1.22m (Std) against a £2.60m tender mean. Roof, heat pump, lifts, fire alarm (full system) and a scaffold item close most of it.
• Fit-out finishes, bathrooms, kitchens, power and strip-out are confirmed by two projects — keep.
• Demolition is over-priced against Whitefields (confirmed quantities): £73 vs £130 per m² demolished. Asbestos kept — the tender came in at a third of Mace's pre-tender allowance.
• Prelims and OH&P: the four projects do not support PR #31's 12% prelims base or 7/6/5% OH&P. Small rises to prelims only.
• Risk: Claycroft grew 33% against a 21.5% client allowance; the workbook caps risk + contingency at 15%. See tab D.
Actions for you outside this table
• Check the Claycroft roof package (about £2.70m in the G4 contract, 5,747 m² roof plan) before the roof High rate is set.
• Record the CS contractor prelims and OH&P % if you have them (not in the workbook yet).
• Decide what happens to PR #31: this table carries its content forward, so it can be closed once v5.11 is built.

## A. Rates with evidence
A. Rates with tender / out-turn evidence
Refurb & Fit-out columns. Amber = change proposed. Yellow = your input.
Ref | Code | Item | Option / use | Unit | Live Basic | Live Std | Live High | #31 Basic | #31 Std | #31 High | Lakeside (L) | Computer Science (CS) | Whitefields (WF) | Claycroft (CC) | Recommendation | Proposed Basic | Proposed Std | Proposed High | Std change vs live | Why | Your decision | Your figure (B / S / H) | Your notes
A01 | 0.1 | Asbestos removal | — | m² GIFA |  | 25 | [6 empty] | £8.1 (5 bids £8.1–£42.5, median £12.7; Mace pre-tender £24.5) |  | Keep |  | 25 |  |  | Mace's pre-tender allowance (£24.5) matches the workbook; the tender came in at a third of it. At Stage 0–1 the extent of asbestos is unknown, so keep £25 until a second project shows the same.
A02 | 0.2 | Demolition of existing building | — | m² demolished |  | 130 | [6 empty] | £73 incl. disconnections £39 (core demolition £34; 5 bids £34–£70, median £46) |  | Change |  | 100 |  | -23.08% | On your confirmed 3,740 m² GIA the contract is £73 per m² demolished, 44% under £130. Whitefields is simple two-storey masonry, so £100 (not £73) leaves room for framed or taller buildings. One rate for every spec level, as now.
A03 | 0.3 | Strip-out | — | m² GIFA |  | 55 |  |  |  |  | £54 |  |  | £51 | Keep |  | 55 |  |  | Two projects within 7% of £55.
A04 | 0.7 | Service diversions | — | m² footprint |  | 100 | [6 empty] | £36 (£44 with pending changes); £315 per m of main |  | Keep |  | 100 |  |  | One water-main replacement; diversions are site-specific. Not enough to move a rate.
A05 | 2.5a | Roof | Full roof | m² roof | 90 | 110 | 200 |  |  |  |  | £182 per m² footprint (£313 per m² re-covered × 699 / 1,199 m²) — flat warm-roof overlay |  | £517 per m² roof plan, metal over-roof — TO CHECK (≈ £2.70m package) | Change | 120 | 190 | 400 | 72.73% | The app prices the roof on the full footprint, so CS is £182 on that basis (it re-covered only 699 of 1,199 m²). Std £190 = CS. High £400 is provisional until the Claycroft roof package is checked. New build not changed.
A06 | 2.6 | External walls | — | m² GIFA | 30 | 60 | 110 |  |  |  |  | £48 render to part façade (£97 with brick remedials) |  |  | Keep | 30 | 60 | 110 |  | Sits between Basic and Std. Remedials are priced under 7.1a.
A07 | 2.7 | Windows and external doors | — | m² GIFA | 90 | 120 | 180 |  |  |  |  | £210 triple glazing + curtain walling, all-in (bids £192–£228) |  |  | Change | 90 | 120 | 210 |  | High only: make High = triple glazing / curtain walling and say so in What's included. Std unchanged.
A08 | 2.10 | Fire stopping | — | m² GIFA | 15 | 30 | 60 |  |  |  | £13.5 local only |  |  | £96 out-turn (£22 provisional sum in contract) | Change | 15 | 30 | 95 |  | Lakeside confirms Basic. Claycroft shows comprehensive fire stopping in occupied residential costs ~£95 once surveyed. Raise High; keep Basic/Std. Also see risk on tab D.
A09 | 3.1 | Wall finishes | — | m² GIFA | 30 | 75 | 140 |  |  |  | £72 |  |  | £99 incl. ceiling/door painting and PVC cladding | Keep | 30 | 75 | 140 |  | Lakeside confirms Std; Claycroft wider scope sits inside High.
A10 | 3.2c | Floor finishes | Raised access floor: No / RES STU | m² GIFA | 30 | 50 | 135 |  |  |  | £51 |  |  | £38 | Keep | 30 | 50 | 135 |  | Both near Std £50.
A11 | 3.3b | Ceiling finishes | RES STU | m² GIFA | 18 | 30 | 85 |  |  |  | £30 partial |  |  | £70 full replacement, fire-line board | Keep | 18 | 30 | 85 |  | Keep rates; reword What's included: Std = repair / partial, High = full replacement (CC £70 sits under High £85).
A12 | 4.2a | Bathrooms and en-suites | Standard | nr bathrooms | 1150 | 2500 | 4400 |  |  |  | £2,563 |  |  | £3,869 IPS + vanity | Keep | 1150 | 2500 | 4400 |  | Lakeside = Std, Claycroft between Std and High. Already calibrated in v5.7.
A13 | 4.5 | Fixed joinery | — | m² GIFA | 15 | 45 | 100 | [6 empty] | £64 (mostly bathroom boxings) | Keep | 15 | 45 | 100 |  | Inside the Std–High range; one project.
A14 | 5.1b | Heating and hot water | Air source heat pump, full system | m² GIFA | 39 | 78 | 175.5 | 51 | 102 | 178.5 |  | £224 whole M&E package (heat pumps, LTHW, AHU coils, ~160 rads, BMS, vent) |  |  | Change | 110 | 190 | 260 | 143.6% | Enter as figures, not "= 5.1a × 1.7". CS less BMS/ventilation ≈ £190. Note: the "plant only" and "radiators only" rows are formulas off this one and will rise with it (5.1h Std ≈ £105).
A15 | 5.2a | Water and drainage | Full installation | m² GIFA | 30 | 65 | 180 | [6 empty] | £39 partial replacement | Keep | 30 | 65 | 180 |  | Partial scope, so below Std is expected.
A16 | 5.2b | Water and drainage | Visible fittings only | m² GIFA | 9 | 19.5 | 54 | 4.5 | 9.75 | 27 | £20 (bids £15–£26) |  |  |  | Reject #31 | 9 | 19.5 | 54 |  | Keep live £19.5. PR #31's market estimate halved it to £9.75 — Lakeside tender contradicts that.
A17 | 5.3a | Ventilation | Full system | m² GIFA | 20 | 45 | 90 | 20 | 55 | 100 |  |  |  | £92 out-turn incl. new ductwork and roof fans | Take #31 | 20 | 55 | 100 | 22.22% | Your #31 figures (Std £55, High £100) fit Claycroft's out-turn.
A18 | 5.3b | Ventilation | Extract fans only | m² GIFA | 8 | 19 | 38 |  |  |  | £18.5 |  |  | £28 incl. fire dampers | Keep | 8 | 19 | 38 |  | Both inside Std–High.
A19 | 5.5 | Controls and BMS | — | m² GIFA | 8 | 15 | 22 | 10 | 20 | 30 |  |  |  | £4.3 (interfaces only — not comparable) | Take #31 | 10 | 20 | 30 | 33.33% | No usable evidence; take your #31 figures.
A20 | 5.7b | Power | Full installation / RES STU | m² GIFA | 95 | 150 | 255 |  |  |  | £153 |  |  | £158 | Keep | 95 | 150 | 255 |  | Two projects within 5% of £150.
A21 | 5.8a | Lighting | Full installation | m² GIFA | 20 | 33 | 52 | 25 | 40 | 60 | not separable (power + lighting £186) |  |  | £113 incl. emergency and external | Change | 25 | 40 | 85 | 21.21% | Std stays at your #31 £40 — that keeps Lakeside power + lighting at £190 vs £186 tender. Raise High to £85 for full replacement incl. common areas (Claycroft less emergency/external).
A22 | 5.11 | Fire alarm | — | m² GIFA | 10 | 18 | 30 | 12 | 20 | 30 | £18.6 |  |  | £65 new system throughout | Change | 12 | 20 | 65 | 11.11% | Basic/Std = your #31 figures (Lakeside confirms). High £65 = full new addressable system in an occupied building (Claycroft). Reword What's included for High.
A23 | 5.14b | Data and IT | RES STU | m² GIFA | 11 | 25 | 50 |  |  |  | £24.5 incl. TV aerial |  |  | £19 data only | Keep | 11 | 25 | 50 |  | Both consistent.
A24 | 5.16a | Lifts | Passenger | nr lifts | 25000 | 40000 | 60000 | 40000 | 60000 | 100000 |  |  |  | £112,850 replacement incl. design | Change | 60000 | 100000 | 130000 | 150% | Today's Std £40k is a third of Claycroft. Std £100k sits under your #31 goods lift Std £120k. New build kept at your #31 £60k / £100k — worth a look.
A25 | 5.26a | Builder's work in connection | — | m² GIFA | 8 | 18 | 30 |  |  |  |  | £8 (heat pump conversion) |  |  | Keep | 8 | 18 | 30 |  | Matches Basic for a light-touch M&E job.
A26 | 5.26b | Builder's work in connection | RES STU | m² GIFA | 12 | 27 | 45 |  |  |  | £27 |  |  | £11 (more BWIC inside M&E lines) | Keep | 12 | 27 | 45 |  | Lakeside like-for-like; Claycroft not comparable.
A27 | 7.1a | Repairs | Fair | m² GIFA | 20 | 45 | 100 |  |  |  |  | £48 brick remedials |  |  | Keep | 20 | 45 | 100 |  | Confirms Std £45.
A28 | 7.1c | Repairs | Poor | m² GIFA | 40 | 90 | 200 | [6 empty] | £164 defects found in out-turn | Keep | 40 | 90 | 200 |  | Between Std £90 and High £200. Supports keeping High.
A29 | 8.10 | Soft landscaping | — | m² soft | 21 | 30 | 48 | [5 empty] | £2.1 topsoil and seed only |  | Keep | 21 | 30 | 48 |  | Seeding only, not the item's scope (planting). A "seed only" option could come later.

## B. Your #31 figures
B. Your own figures from PR #31 (29 Sept review) — not yet in production
No tender evidence on these rows. Recommendation: carry them into v5.11 unchanged. Reject a row to keep the live figure.
Ref | Code | Item | Option | Unit | Live B | Live S | Live H | Live NB S | Live NB H | #31 B | #31 S | #31 H | #31 NB S | #31 NB H | Recommendation | Your decision | Your notes
B01 | 1.3 | Basement | — | m² basement |  | 0 |  | 600 | 1000 |  | 0 |  | 1800 | 2800 | Carry over
B02 | 4.7 | AV equipment | — | m² GIFA | - | 25 | 60 | 25 | 60 | - | 45 | 80 | 45 | 80 | Carry over
B03 | 4.9 | Catering kitchen | — | m² kitchen | 373 | 690 | 1455 | 690 | 1455 | 600 | 1000 | 1800 | 1000 | 1800 | Carry over
B04 | 4.10 | Laboratory | — | m² lab |  | 310 | 600 | 310 | 600 |  | 700 | 1200 | 700 | 1200 | Carry over
B05 | 4.11 | Clinical | — | m² clinical |  | 65 | 130 | 65 | 130 |  | 150 | 300 | 150 | 300 | Carry over
B06 | 5.1c | Heating and hot water | Ground source heat pump, full system | m² GIFA | 54 | 108 | 243 | 108 | 189 | 69 | 138 | 241.5 | 138 | 241.5 | Carry over
B07 | 5.10e | Standby power | Generator, large | band |  | 115000 |  | 115000 |  |  | 150000 |  | 150000 |  | Carry over
B08 | 5.12 | Sprinklers | — | m² GIFA |  | 15 | 50 | 15 | 50 |  | 30 | 50 | 30 | 50 | Carry over
B09 | 5.16c | Lifts | Goods or bed | nr lifts | 50000 | 70000 | 100000 | 70000 | 100000 | 100000 | 120000 | 150000 | 120000 | 150000 | Carry over
B10 | 5.18 | Battery storage | — | kWh | 300 | 400 | 650 | 400 | 650 | 450 | 550 | 700 | 550 | 700 | Carry over
B11 | 5.19 | EV charging | — | nr chargers |  | 1500 | 2500 | 1500 | 2500 |  | 2500 | 4500 | 2500 | 4500 | Carry over
B12 | 5.21b | Fume extraction | Medium | band |  | 16000 |  | 16000 |  |  | 30000 |  | 30000 |  | Carry over
B13 | 5.21c | Fume extraction | Large | band |  | 38000 |  | 38000 |  |  | 60000 |  | 60000 |  | Carry over
B14 | 8.7 | Roads, paths and paving | — | m² hard surface | 35 | 50 | 80 | 50 | 80 | 45 | 75 | 120 | 75 | 120 | Carry over
B15 | 8.8 | Car parking | — | nr spaces | 1000 | 1800 | 2800 | 1000 | 1800 | 1000 | 2500 | 4000 | 2500 | 4000 | Carry over
B16 | 8.12a | Biodiversity net gain | Small | band | 0 | 0 | 0 | 10000 |  | 0 | 0 | 0 | 15000 |  | Carry over
B17 | 8.12b | Biodiversity net gain | Medium | band | 0 | 0 | 0 | 40000 |  | 0 | 0 | 0 | 75000 |  | Carry over
B18 | 8.12c | Biodiversity net gain | Large | band | 0 | 0 | 0 | 120000 |  | 0 | 0 | 0 | 200000 |  | Carry over
B19 | 8.15 | Cycle storage | — | nr spaces | 210 | 240 | 480 | 240 | 480 | 210 | 350 | 600 | 350 | 600 | Carry over

## C. #31 market estimates
C. Market estimates from PR #31 (v5.8 commit) — Claude's estimates, not yours
These keep the † (unverified) flag either way. Recommendation: carry over, except where tender evidence contradicts (see tab A, 5.2b).
Ref | Code | Item | Option | Unit | Live B | Live S | Live H | Live NB S | Live NB H | #31 B | #31 S | #31 H | #31 NB S | #31 NB H | Recommendation | Your decision | Your notes
C01 | 4.4b | Kitchens | Staff kitchenette (non-domestic) | nr kitchenettes | 2500 | 4000 | 7000 | 4000 | 7000 | 3500 | 5500 | 9000 | 5500 | 9000 | Carry over (†)
C02 | 5.1g | Heating and hot water | Gas boiler, radiators and controls only | m² GIFA | 9 | 18 | 40.5 | 18 | 31.5 | 10.5 | 21 | 47.25 | 21 | 36.75 | Carry over (†)
C03 | 5.1h | Heating and hot water | Air source heat pump, plant only | m² GIFA | 17.55 | 35.1 | 78.98 | 35.1 | 61.43 | 28.05 | 56.1 | 98.18 | 56.1 | 98.18 | Carry over (†)
C04 | 5.1i | Heating and hot water | Air source heat pump, radiators and controls only | m² GIFA | 11.7 | 23.4 | 52.65 | 23.4 | 40.95 | 12.75 | 25.5 | 44.62 | 25.5 | 44.62 | Carry over (†)
C05 | 5.1j | Heating and hot water | Ground source heat pump, plant only | m² GIFA | 24.3 | 48.6 | 109.35 | 48.6 | 85.05 | 44.85 | 89.7 | 156.97 | 89.7 | 156.97 | Carry over (†)
C06 | 5.1k | Heating and hot water | Ground source heat pump, radiators and controls only | m² GIFA | 16.2 | 32.4 | 72.9 | 32.4 | 56.7 | 13.8 | 27.6 | 48.3 | 27.6 | 48.3 | Carry over (†)
C07 | 5.1o | Heating and hot water | Electric, radiators and controls only | m² GIFA | 5.4 | 10.8 | 24.3 | 10.8 | 18.9 | 12.6 | 25.2 | 56.7 | 25.2 | 44.1 | Carry over (†)
C08 | 5.8b | Lighting | Replace fittings only | m² GIFA | 15 | 24.75 | 39 | 24.75 | 39 | 18.75 | 30 | 45 | 30 | 45 | Carry over (†)
C09 | 5.10a | Standby power | Generator, small | band |  | 25000 |  | 25000 |  |  | 28000 |  | 28000 |  | Carry over (†)
C10 | 5.13 | Smoke ventilation | — | nr floors | 4000 | 6000 | 9000 | 6000 | 9000 | 4000 | 6500 | 12000 | 6500 | 12000 | Carry over (†)
C11 | 5.20a | Compressed air | Small | band |  | 6000 |  | 6000 |  |  | 7500 |  | 7500 |  | Carry over (†)
C12 | 5.21a | Fume extraction | Small | band |  | 8000 |  | 8000 |  |  | 12000 |  | 12000 |  | Carry over (†)
C13 | 5.25a | Server room cooling | Small | band |  | 18000 |  | 18000 |  |  | 12000 |  | 12000 |  | Carry over (†)
C14 | 8.5a | Highways and site access | Small | band |  | 25000 |  | 25000 |  |  | 15000 |  | 15000 |  | Carry over (†)
C15 | 8.5b | Highways and site access | Medium | band |  | 75000 |  | 75000 |  |  | 100000 |  | 100000 |  | Carry over (†)
C16 | 8.5c | Highways and site access | Large | band |  | 200000 |  | 200000 |  |  | 350000 |  | 350000 |  | Carry over (†)
C17 | 8.6b | Retaining walls and earthworks | Medium | band |  | 60000 |  | 60000 |  |  | 65000 |  | 65000 |  | Carry over (†)
C18 | 8.6c | Retaining walls and earthworks | Large | band |  | 150000 |  | 150000 |  |  | 250000 |  | 250000 |  | Carry over (†)
C19 | 8.13 | Fences, gates and walls | — | m | 60 | 110 | 200 | 110 | 200 | 60 | 110 | 250 | 110 | 250 | Carry over (†)
Source-text-only changes (no figure moved) are not listed. 5.2b is on tab A (A16) because Lakeside contradicts it.

## D. Prelims, OH&P, fees, risk
D. Percentages ('3. Settings' ▶ percentage_rules)
Your 30 Sept decision to keep OH&P at 9.5% (£1–5m) is respected.
Ref | Addition | Live (v5.7) | PR #31 | Evidence | Recommendation | Proposal and why | Your decision | Your figure / notes
D1 | A — Contractor's preliminaries | Base 8%; + 2 fully occupied, + 1 partly occupied, + 0.5 each restricted hours / shared access / > 18 months; cap 10–12% | Base 12%; + 4 / + 2 / + 1 / + 1 / + 1; cap 20% | L 7–11% (median ~9%, occupied flats). CC 11.3% (Tier 1, occupied, £21m). WF 16.8% incl. £39k hoarding (£0.5m demolition). CS not recorded. | Change | Base 8% → 9%; keep the adds; cap → 13%. Reject #31's 12% base and 20% cap — Lakeside and Claycroft, both occupied, came in at 9–11%. Whitefields is a small-job effect (see D2).
D2 | B — Overheads & profit | < £1m 11% · £1–5m 9.5% · > £5m 8.5% | 7% · 6% · 5% | L 7.5% median (6–10%) at £1–5m. WF 15% at < £1m. CC 2.2% SCAPE fee + 2.1% design + 2.8% risk = 7.1% at > £5m. | Keep | Keep live, as you decided on 30 Sept. Reject #31's 7/6/5% — Whitefields shows small jobs go higher, not lower. Revisit after the next small-value tender.
D3 | C — Professional fees (Stage 0–1) | 13.5% + adds (M&E-heavy 1.5, BREEAM 1, heritage 2) | unchanged | CS: everything above construction (fees, surveys, Estates) = 14.7%. WF 28% + 4% Estates — ecology and environmental monitoring £67k on a £0.5m demolition. | Hold | CS supports 13.5%. Whitefields is one demolition job with heavy ecology; consider a Demolition-only ecology add once a second demolition project is in.
D4 | E — Risk allowance (and H contingency 5%) | Base 5% + adds, cap 10%. Contingency fixed 5%. Maximum 15% in total. | unchanged | CC +33% out-turn against a 21.5% client allowance (defects £2.65m, fire stopping £2.63m, M&E £1.40m). CS +3.4%. WF holds 65% risk, 1% drawn so far. | Change | Raise the E cap 10% → 15% (maximum 20% with contingency), and Q3.1 "Fire safety deficiencies" add 0.5 → 2. Claycroft is one project, but the 15% ceiling can't reach what occupied pre-1980 refurbishments are showing.

## E. New items and checks
E. New items, checks and carry-overs
Ref | Item | Evidence | Recommendation | Proposal | Your decision | Your notes
E1 | New item: Scaffolding for envelope works | CS £42/m² GIFA (bids £35–£49). CC £33/m² GIA (£99/m² roof plan). | Add | Basic £30 / Std £38 / High £45 per m² GIFA, Refurb & Fit-out only. Suggested automatically when roof (2.5a), external walls (2.6) or windows (2.7) are ticked. Workbook rows only — no code change.
E2 | Sense-check band, Refurbishment / Education | CS out-turn £781/m² construction for an envelope + heat-pump retrofit; band is £800–1,800/m². | Hold | With the roof, heat pump and scaffold changes CS would sit near the band floor. Leave the band; revisit if envelope-only jobs keep flagging "cost low".
E3 | Cleanroom item (S-0038) removed — from #31 | Your decision on 29 Sept. | Take #31 | Carry over. Old codes 4.44 and 6.4 retired.
E4 | Scotland location factor Mid 0.90 → 0.97 — from #31 | Mid sat outside its own 0.93–1.00 range. | Take #31 | Carry over (a data error fix).
E5 | Fire stopping risk seed | CC: £350k provisional sum became £2.63m incl. compartment-wall heads. | Add | Where Q3.1 has fire safety deficiencies on an occupied refurbishment, add a High risk: "fire-stopping extent unknown until opened up". Workbook RISK effect — no code change.